| Client Name: | Auditor Name: |
| --- | --- |
| LA Project #: | Date: |

Local agencies shall use Pollution Source Survey results to document justification for installation of a particular health or safety measure in a project with a note in the Scope of Work.  Example:  Note in Scope of Work Plumbing Repair measure – PSS Condition #3 Plumbing leaks inside the home or in the crawl space, with a Rating 3 = Current Major Leak.

Keep It Dry:________________________________________________________________________________________

1. Seasonal water pooling in crawlspace?

| ☐ 0=N/A or completely dry | Notes: Auto fill onto Client H&S Observed Conditions – Drainage Issues |
| --- | --- |
| ☐ 1=limited moisture |  |
| ☐ 2=some moisture |  |
| ☐ 3=major pooling |  |

2. Vapor barrier present in the crawlspace?

| ☐ 0=N/A or good condition | Notes: |
| --- | --- |
| ☐ 1=yes w/ some gaps |  |
| ☐ 2=yes but poor condition |  |
| ☐ 3=none |  |

3. Plumbing leaks inside the home or in the crawlspace?

| ☐ 0=none/completely dry | Notes: |
| --- | --- |
| ☐ 1=sign of past leak |  |
| ☐ 2=current minor leak |  |
| ☐ 3=current major leak |  |

4. Noticeable leaks or water staining on ceilings or walls?

| ☐ 0=no signs | Notes: |
| --- | --- |
| ☐ 1=minor stain |  |
| ☐ 2=multiple stains |  |
| ☐ 3=major damage |  |

5. Condensation/moisture noticeable on windows or surfaces?

| ☐ 0=some, at times | Notes: |
| --- | --- |
| ☐ 1=frequent moisture |  |
| ☐ 2=heavy/problematic |  |
| ☐ 3=major/extensive |  |

6. Visible mold in the home?

| ☐ 0=none visible | Notes: Auto fill onto Client H&S Observed Conditions – Biological Hazards |
| --- | --- |
| ☐ 1=localized/small area |  |
| ☐ 2=multiple locations |  |
| ☐ 3=major/extensive |  |

7. Unusually high relative humidity (RH) levels?

| ☐ 0=<50% RH | Notes: |
| --- | --- |
| ☐ 1=50-60% RH |  |
| ☐ 2=60-70% RH |  |
| ☐ 3=>70% RH |  |

8. Extra sources of moisture in the home? (e.g. unvented dryer, fish tanks, many houseplants)

| ☐ 0=none | Notes: |
| --- | --- |
| ☐ 1=some |  |
| ☐ 2=several |  |
| ☐ 3=excessive |  |

Keep It Clean:_______________________________________________________________________________________

9. Condition of carpet: dirty, worn, water soaked?

| ☐ 0=no carpet/like new | Notes: |
| --- | --- |
| ☐ 1=decent condition |  |
| ☐ 2=some problems |  |
| ☐ 3=old/dirty/worn |  |

10. Warm blooded pets (cats, dogs, hamsters, birds, etc.) inside the home?

| ☐ 0=no pets | Notes: |
| --- | --- |
| ☐ 1=limited #/ lived –in |  |
| ☐ 2=some throughout |  |
| ☐ 3=many throughout |  |

11. Housekeeping problems? Cluttered or unsanitary?

| ☐ 0=clean/uncluttered | Notes: |
| --- | --- |
| ☐ 1=normal/lived-in |  |
| ☐ 2=poor housekeeping |  |
| ☐ 3=major issues |  |

12. Condition of filters used in heating system?

| ☐ 0=N/A or new | Notes: |
| --- | --- |
| ☐ 1=decent condition |  |
| ☐ 2=change soon |  |
| ☐ 3=missing or clogged |  |

Keep It Safe:________________________________________________________________________________________

13. Do cars park in attached garage, with pollution pathways into the home?

| ☐ 0=N/A (no attached) | Notes: |
| --- | --- |
| ☐ 1=limited pathways |  |
| ☐ 2=some pathways |  |
| ☐ 3=major pathways |  |

14. Paints, solvents, thinners, pesticides stored in home?

| ☐ 0=none in home | Notes: Auto fill onto Client H&S Observed Conditions – VOC/Chemical Air Pollutants |
| --- | --- |
| ☐ 1=few |  |
| ☐ 2=several |  |
| ☐ 3=excessive |  |

15. Functioning carbon monoxide detectors and smoke alarms?

| ☐ 0=all installed/functioning | Notes: |
| --- | --- |
| ☐ 1=few, but working |  |
| ☐ 2=inadequate/old |  |
| ☐ 3=none functioning |  |

Keep it Well-Ventilated:_______________________________________________________________________________

16. Combustion appliances properly vented?

| ☐ 0=N/A or well vented | Notes: |
| --- | --- |
| ☐ 1=minor problem |  |
| ☐ 2=significant problem |  |
| ☐ 3=not vented outside |  |

17. Bath and kitchen fans properly functioning?

| ☐ 0=excellent ventilation | Notes: |
| --- | --- |
| ☐ 1=adequate |  |
| ☐ 2=inadequate |  |
| ☐ 3=no functioning fans |  |

Keep It Pest Free:____________________________________________________________________________________

18. Are there signs of rodents, cockroaches, or other pests in the house, attic or crawl?

| ☐ 0=no signs | Notes: Auto fill onto Client H&S Observed Conditions – Pest Control Issues |
| --- | --- |
| ☐ 1=few signs |  |
| ☐ 2=several signs |  |
| ☐ 3=active |  |

19. Insecticides or rodenticides used in the home or ductwork?

| ☐ 0=none used | Notes: |
| --- | --- |
| ☐ 1=minimal use |  |
| ☐ 2=multiple locations |  |
| ☐ 3=used throughout |  |

Keep it Contaminant Free:____________________________________________________________________________

20. Paint peeling or flaking on floors, walls, ceilings (in pre-1978 home)?

| ☐ 0=none | Notes: Auto fill onto Client H&S Observed Conditions – Lead Based Paint |
| --- | --- |
| ☐ 1=localized |  |
| ☐ 2=multiple locations |  |
| ☐ 3=widespread |  |

21. Environmental tobacco smoke (ETS) in the home?

| ☐ 0=N/A (no smoking) | Notes: |
| --- | --- |
| ☐ 1=signs of ETS |  |
| ☐ 2=strong ETS odor |  |
| ☐ 3=excessive ETS |  |

22. Vermiculite or other presumed asbestos containing material (PACM) in the home?

| ☐ 0=no PACM | Notes: Auto fill onto Client H&S Observed Conditions – Asbestos Risk |
| --- | --- |
| ☐ 1=good condition |  |
| ☐ 2=no immediate risk |  |
| ☐ 3=friable/damaged |  |

23. Unusually strong odors – chemical cleaners, air fresheners, mold/mildew, etc. in the home?

| ☐ 0=none | Notes: |
| --- | --- |
| ☐ 1=moderate scents |  |
| ☐ 2=strong odors |  |
| ☐ 3=extreme odors |  |

Keep it Well Maintained:_____________________________________________________________________________

24. Slip, trip, or fall hazards due to structure?

| ☐ 0=none | Notes: Auto fill onto Client H&S Observed Conditions – Building Structure & Roofing |
| --- | --- |
| ☐ 1=small hazard |  |
| ☐ 2=multiple hazards |  |
| ☐ 3=major hazards |  |

Thermally controlled:________________________________________________________________________________

25. Temperature unusually warm or cold in the home?

| ☐ 0=normal (~60-70F) | Notes: |
| --- | --- |
| ☐ 1=somewhat unusual |  |
| ☐ 2=very cold or hot |  |
| ☐ 3=excessive/danger |  |